## Sheet1
DATA CENTER CAPITAL COST CALCULATOR
Inputs
Results
Include in Cost
Location of Data Center
Data Center Environment
Data Center Design Capacity
Cooling System
Air distribution type
UPS Architecture
Power distribution type
Power Density
Core & shell
4 kW / rack
$ 90 / hour
$ 90 / ft²
Labor Rate
Redundancy Level
Power
Cooling
IT distribution
UPS
Generator
Capital Cost Summary
$ 7.2 M
Data Center Cost
Data Center Cost Per Watt
$ 7.19
Calculated Rack Quantity
250
IT Room Area
8,125 ft²
Facility Area
13,195 ft²
Cost by Type
Cost by System